### Written by: Ethan Lin, Alia Starman					Last Update: 04/29/2026

#### Collagen Functionalizing

- Start with a fully assembled chip, see chip fabrication protocol

- Make working solutions:

  - (FUME HOOD) From 99% APTES stock solution (should be aliquoted from stock bottle), make fresh 8% APTES working solution in DI water, 100 uL per chip.

  - (FUME HOOD) From 50% Glutaraldehyde stock solution (should be aliquoted from stock bottle), make fresh 3% glutaraldehyde working solution in DI water, 100 uL per chip.

  - (BIOSAFETY CABINET- STERILE) From stock 5 mg/mL PureCol  EZ Gel, make an aliquot of 2 mg/mL collagen working solution. This can be kept at 5 C, need 50 uL per chip.

- Plasma treat the PDMS with O2 to create silanol groups for 90 s

FUME HOOD (30 min active, 2 hr wait)

- Add 100 uL of APTES working solution to the inlet of each treated chip. After visually confirming that the chamber is filled, add 100 uL of DI water to the outlet of the chip to prevent excess flow into the snake. Leave for 1 hr at room temp.

- Add DI water to outlet tube and vacuum through, out of the inlet tube, six times for a total wash of about 2 mL of DI water.

- Remove the water from the chamber, then add 100 uL of glutaraldehyde working solution to the inlet of each chip. After visually confirming that the chamber is filled, add 100 uL of DI water to the outlet of the chip to prevent excess flow into the snake. Leave for 1 hr at room temp.

- Add DI water to outlet tube and vacuum through, out of the inlet tube, six times for a total wash of about 2 mLs of DI water.

BIOSAFETY CABINET (15 min)

- Leaving some DI water in the chip, spray with 70% EtOH and place in the biosafety cabinet on a cold block frozen at -20 C. Let the chips chill for 5 minutes.

- Add 400 uL of sterile PBS to each chip outlet tube, vacuuming the DI water out the inlet.

- Remove most of the PBS from the chip chambers. Add 50 uL of the collagen working solution directly to the chamber using a 200 uL pipette tip. Let chip sit on the cold block for 2 minutes.

- Add 400 uL of PBS to the outlet tube, vacuuming the collagen solution out the inlet. Wash most of the PBS through the chip, leaving enough so the chamber and snake do not dry out.

- If using immediately, fill the inlet tube with sterile PBS, removing any excess PBS from the outlet. This is to test that the chip is flowing before use. Leave to flow for at least 30 minutes or until you can see the PBS level rise in the outlet tube. Remove excess PBS before use once flow is confirmed before use.

- If making ahead of time, fill the inlet tube with sterile PBS, removing any excess PBS from the outlet. Place the chips in a box and place in incubator, checking to see if they flow before using.

NOTES: Avoid bubbles at all steps, especially in the chamber. If a bubble forms in the chamber, try to aspirate it out with a 200 uL pipette. If the bubble persists, vacuum liquid completely out (empty chamber), then add more to inlet and vacuum through to remove air from the snake as well.

Chips can generally be kept for up to a week before use, the maximum time has not been tested.